INDUSTRIAL PRETREATMENT PROGRAM

SANITARY SEWER SPECIAL DISCHARGE REQUEST

This form is a request for Metro Water Recovery (Metro) to authorize a proposed sanitary sewer discharge of sewage, water, substances, materials or waste listed in or related to Section 6.13 of Metro’s  Rules and Regulations Governing the Operation, Use and Services of the System (Rules and Regulations). All decisions regarding Special Discharge Requests are provided in writing. Approvals are issued solely at the discretion of Metro and shall not constitute future approval of the same or any additional or similar discharges.

This completed form and required information must be submitted no later than six (6) calendar weeks prior to the date that the requestor would like to commence discharge.

Incomplete requests cannot be processed, and review work will be placed on hold until a complete request is submitted.  Complete requests must include all information required on the form, including all analytical results and applicable material safety data sheets (SDS).

Before submitting this request, please note that the following sanitary sewer discharges will not be approved and are prohibited:

- Groundwater containing one or more PFAS analytes listed in Appendix A at a level above detection for the specified analytical method.

- Wastewater containing radionuclides above 5 pCi/g including Radium 226 and/or Radium 228, and/or Polonium 210, and/or Lead 210.

Please note that all Industrial Pretreatment Program submittals made to Metro must be in hard copy format; that is via US Mail, FedEx/UPS or similar, courier or hand-delivery. Metro does not currently have EPA approval to receive Industrial Pretreatment Program submittals electronically. Redundant electronic submittals (in addition to hard copy submittals) can be transmitted to Metro via e-mail (amzimmerman@metrowaterrecovery.com) but cannot be used to meet the 6-week request submittal deadline or any other requirements.

For hard copy submittals:

Via Mail:

Metro Water Recovery

Industrial Pretreatment Program

Special Discharge Request

Attn: Amy Zimmerman

6450 York Street

Denver, CO 80229-7499

Via Hand-Delivery to Metro (at the address provided above). On the cover or first page of the submittal, include the following information:

Business Name

Industrial Pretreatment Program Special Discharge Request

Attn: Amy Zimmerman

# CONTACT INFORMATION

Requestor: ______________________________________________________________________

Facility Contact(s) [Name/Title]: _______________________________________________________

Email Address: ________________________________________     Phone: _____________________

Mailing Address: ____________________________________________________________________

City: _______________________________         Zip Code: ________________________________

# LOCATION OF DISCHARGE

Source Address: ___________________________________________________________

City: _______________________________         Zip Code: _______________________________

# TYPE OF DISCHARGE

Anticipated Start Date of Discharge? ___________________________________________________

Duration of Discharge? _________________

Discharge Pattern? (One-time Discharge, Multiple Discharges, Continuous Discharge) _____________

Volume of Discharge? ___________

Average Discharge (gallons per minute) _________

Minimum (gpm) __________

Maximum (gpm) __________

Describe the nature and scope of the project requiring discharge of non-permitted waste to the sanitary sewer:

Describe the substance or waste proposed for discharge and the process generating the waste:

How was the waste disposed of previously? __________________________________________________________________________________

Will the waste discharge receive any treatment?  Yes ☐     No ☐

If yes, please describe.

__________________________________________________________________________________

Provide complete copies of all analytical reports for parameters listed in Appendix A.

Did you provide the appropriate analytical data?  Yes ☐     No ☐

If No, this request is incomplete and will not be processed.

# OTHER INFORMATION

Please describe how the proposed waste stream will be physically discharged to the sanitary sewer. Please include a brief site plan/schematic/sewer plan showing piping/hoses/pumps and discharge location(s),including manholes if the requested discharge would be discharged directly into a manhole.

Will the proposed discharge utilize mobile or installed pumps? Yes ☐     No ☐

Number of pumps and the capacity of each:

Will the pumps be metered?  Yes ☐     No ☐

If No, how will daily average, total and maximum flows be measured and recorded?

How will any stormwater runoff be handled and precluded from inclusion in the discharge?

Not including the discharge requested above, what is the average amount of wastewater discharged daily from the facility: _____ gallons per day (gpd)

Not including the discharge requested above, what is typically/normally discharged from the facility?

Domestic Only (bathrooms, hand sinks, employee kitchen/breakroom, showers): Yes ☐     No ☐

Boiler or Cooling Tower Blow Down:  Yes ☐     No ☐

Other Processes: Yes ☐     No ☐

If yes, please describe the other processes:

_______________________________________________________________________________

Does the waste stream proposed for discharge include any listed or characteristic (ignitable, corrosive, reactive, toxic) hazardous wastes pursuant to state and federal Hazardous Waste Regulations?

Yes ☐     No ☐

If yes, please list each: __________________________________________________________________________________

Does the waste stream proposed for discharge contain any of the prohibited substances/characteristics listed in Metro’s Rules and Regulations, Section 6.14?

Yes ☐     No ☐

If yes, please list each: __________________________________________________________________________________

Attach SDSs for all materials associated with this request.   If there are proprietary chemicals on the SDS, reach out to the vendor for the information.

I have read the enclosed information and believe that it is accurate and complete. This form must be signed by an Authorized Representative of the facility or project requesting this discharge request.

Name:		Title:

Signature:		Date:

# Appendix A:

Below is the list of pollutants that must be analyzed for all discharge requests. Sampling for the criteria listed is a minimum requirement; you may be asked to provide more. All analyses must be conducted with methods listed in 40 CFR 136, unless otherwise specified.

| No. | Compound | Units | Method | CAS # |  |
| --- | --- | --- | --- | --- | --- |
| Local Limits |  |  |  |  |  |  |
|  | Arsenic, Total | mg/L |  |  |  |
|  | Cadmium, Total | mg/L |  |  |  |
|  | Chromium, Total | mg/L |  |  |  |
|  | Copper, Total | mg/L |  |  |  |
|  | Cyanide, Total | mg/L |  |  |  |
|  | Lead, Total | mg/L |  |  |  |
|  | Mercury, Total | mg/L |  |  |  |
|  | Molybdenum, Total | mg/L |  |  |  |
|  | Nickel, Total | mg/L |  |  |  |
|  | Selenium, Total | mg/L |  |  |  |
|  | Silver, Total | mg/L |  |  |  |
|  | Zinc, Total | mg/L |  |  |  |
| Site Specific Limits |  |  |  |  |  |  |
|  | HEM-SGT | mg/L |  |  |  |
|  | Benzene | ug/L |  |  | 71-43-2 |
|  | Toluene | ug/L |  |  | 108-88-3 |
|  | ethylbenzene | ug/L |  |  |  |
|  | xylene | ug/L |  |  | 1330-20-7 |
| Other Pollutants |  |  |  |  |  |  |
|  | pH | S.U. |  |  |  |
|  | 1,4-Dioxane | ug/L |  | 71-43-2 |  |
|  | Total Suspended Solids |  |  |  |  |
|  | Beta-BHC | ug/L |  | 319-85-7 |  |
|  | Bis(2-Ethylhexyl)Phthalate | ug/L |  | 117-81-7 |  |
|  | BOD5 | mg/L |  |  |  |
|  | Butyl Benzyl Phthalate | ug/L |  | 85-68-7 |  |
|  | Chloride | mg/L |  |  |  |
|  | Chloroethane | ug/L |  | 75-00-3 |  |
|  | Chloroform | ug/L |  | 67-66-3 |  |
|  | COD | mg/L |  |  |  |
|  | Delta-BHC | ug/L |  | 319-86-8 |  |
|  | Diethylphthalate | ug/L |  | 84-66-2 |  |
|  | Formaldehyde | ug/L |  | 50-00-0 |  |
|  | Iron (Total and Dissolved) | mg/L |  |  |  |
|  | Manganese (Total and Dissolved) | mg/L |  |  |  |
|  | Methyl Chloride | ug/L |  | 74-87-3 |  |
|  | Methylene Chloride | ug/L |  | 75-09-2 |  |
|  | Nitrate-Nitrite | mg/L |  |  |  |
|  | Nitrogen, Ammonia Total (As N) | mg/L |  |  |  |
|  | Nonylphenol | ug/L |  | 25154-52-3 |  |
|  | pH | S.U. |  |  |  |
|  | Phenol | ug/L |  | 108-95-2 |  |
|  | Phosphorus (Total) | mg/L |  |  |  |
|  | Styrene | ug/L |  | 100-42-5 |  |
|  | Sulfate | mg/L |  |  |  |
|  | Total Suspended Solids (TSS) | mg/L |  |  |  |
|  | Total Dissolved Solids (TDS) | mg/L |  |  |  |
|  | Total Inorganic Nitrogen (TIN) | mg/L |  |  |  |
|  | Total Kjeldhal Nitrogen | mg/L |  |  |  |
|  | Total Suspended Solids (TSS) | mg/L |  |  |  |
| Radiological analysis (TENORM) |  |  |  |  |  |  |
|  | Radium 2261 | pCi/g | EPA 901.1, HASL 300 Method Ga-01-R, EPA 903.1, SM 7500-Ra C, SM 7500-Ra B, SM 7500-Ra B modified, EPA 903.0 |  |  |
|  | Radium 2281 | pCi/g | EPA 901.1, HASL 300 Method Ga-01-R, EPA 904.0, EPA 9320, EPA Ra-05 modified |  |  |
|  | Natural Uranium (234, 235, and 238) | pCi/g | Standard Method – SM 7500 U-C; EPA 908 |  |  |
|  | Natural Thorium (228, 230, 232) | pCi/g | HASL 300, ASTM D3972; DOE A-R-01 |  |  |
|  | Lead 210 | pCi/g | EPA 901.1, Horwitz, Chiariza, Dietz 1992, EPA 909.0, DOE RP280, ASTM D7535-09, Eichrom Pb |  |  |
|  | Polonium 210 | pCi/g | HASL 300 Po-01-RC, HASL 300 Po-02-RC |  |  |
| PFAS COMPOUNDS2 |  | Units | Method |  |  |  |
|  | Perfluorobutanoic acid (PFBA) | ng/L | EPA 1633 |  |  |
|  | Perfluoropentanoic acid (PFPeA) | ng/L | EPA 1633 |  |  |
|  | Perfluorohexanoic acid (PFHxA) | ng/L | EPA 1633 |  |  |
|  | Perfluoroheptanoic acid (PFHpA) | ng/L | EPA 1633 |  |  |
|  | Perfluorooctanoic acid (PFOA) | ng/L | EPA 1633 |  |  |
|  | Perfluorononanoic acid (PFNA) | ng/L | EPA 1633 |  |  |
|  | Perfluorodecanoic acid (PFDA) | ng/L | EPA 1633 |  |  |
|  | Perfluoroundecanoic acid (PFUnA) | ng/L | EPA 1633 |  |  |
|  | Perfluorododecanoic acid (PFDoA) | ng/L | EPA 1633 |  |  |
|  | Perfluorotridecanoic acid (PFTriA) | ng/L | EPA 1633 |  |  |
|  | Perfluorotetradecanoic acid (PFTeA) | ng/L | EPA 1633 |  |  |
|  | Perfluorobutanesulfonic acid (PFBS) | ng/L | EPA 1633 |  |  |
|  | Perfluoropentanesulfonic acid (PFPeS) | ng/L | EPA 1633 |  |  |
|  | Perfluorohexanesulfonic acid (PFHxS) | ng/L | EPA 1633 |  |  |
|  | Perfluoroheptanesulfonic Acid (PFHpS) | ng/L | EPA 1633 |  |  |
|  | Perfluorooctanesulfonic acid (PFOS) | ng/L | EPA 1633 |  |  |
|  | Perfluorononanesulfonic acid (PFNS) | ng/L | EPA 1633 |  |  |
|  | Perfluorodecanesulfonic acid (PFDS) | ng/L | EPA 1633 |  |  |
|  | Perfluorododecanesulfonic acid (PFDoS) | ng/L | EPA 1633 |  |  |
|  | Perfluorooctanesulfonamide (PFOSA) | ng/L | EPA 1633 |  |  |
|  | N-methyl perfluorooctanesulfonamidoacetic acid (NMeFOSAA) | ng/L | EPA 1633 |  |  |
|  | N-ethyl perfluorooctanesulfonamidoacetic acid (NEtFOSAA) | ng/L | EPA 1633 |  |  |
|  | 1H,1H, 2H, 2H-Perfluorohexane sulfonic acid (4:2 FTS) | ng/L | EPA 1633 |  |  |
|  | 1H,1H, 2H, 2H-Perfluorooctane sulfonic acid (6:2 FTS) | ng/L | EPA 1633 |  |  |
|  | 1H,1H, 2H, 2H-Perfluorodecane sulfonic acid (8:2 FTS) | ng/L | EPA 1633 |  |  |
|  | N-ethyl perfluorooctanesulfonamide (NEtFOSA) | ng/L | EPA 1633 |  |  |
|  | N-methyl perfluorooctanesulfonamide (NMeFOSA) | ng/L | EPA 1633 |  |  |
|  | N-methyl perfluorooctanesulfonamidoethanol (NMeFOSE) | ng/L | EPA 1633 |  |  |
|  | N-ethyl perfluorooctanesulfonamidoethanol (NEtFOSE) | ng/L | EPA 1633 |  |  |
|  | 9-Chlorohexadecafluoro-3-oxanonane-1-sulfonic acid (9Cl-PF3ONS) | ng/L | EPA 1633 |  |  |
|  | Hexafluoropropylene oxide dimer acid (HFPO-DA (GenX)) | ng/L | EPA 1633 |  |  |
|  | 11-Chloroeicosafluoro-3-oxaundecane-1-sulfonic acid (11Cl-PF3OUdS) | ng/L | EPA 1633 |  |  |
|  | 4,8-Dioxa-3H-perfluorononanoic acid (ADONA) | ng/L | EPA 1633 |  |  |
|  | 3-Perfluoropropyl propanoic acid (3:3 FTCA) | ng/L | EPA 1633 |  |  |
|  | 2H,2H,3H,3H-Perfluorooctanoic acid (5:3 FTCA) | ng/L | EPA 1633 |  |  |
|  | 3-Perfluoroheptyl propanoic acid (7:3 FTCA) | ng/L | EPA 1633 |  |  |
|  | Nonafluoro-3,6-dioxaheptanoic acid (NFDHA) | ng/L | EPA 1633 |  |  |
|  | Perfluoro-4-methoxybutanoic acid (PFMBA) | ng/L | EPA 1633 |  |  |
|  | Perfluoro-3-methoxypropanoic acid (PFMPA) | ng/L | EPA 1633 |  |  |
|  | Perfluoro(2-ethoxyethane)sulfonic acid (PFEESA) | ng/L | EPA 1633 |  |  |

Notes:

- The radionuclide concentration in liquid samples is converted to dry weight concentration using the following equation:

Concentration (pCi/g) = Concentration (pCi/L) / [TDS (g/L) + TSS (g/L)]

- Sample collection, holding, analysis and reporting of PFAS samples shall be performed in accordance with the latest version of EPA Method 1633 Analysis of Per and Polyfluoroalkyl Substances (PFAS) in Aqueous, Solid, Biosolids, and Tissue Samples by LC-MS/MS (EPA 1633).